## Slide 1: Take 5 for Safety
Wooden Stair Issues at PPPL
Collider-Accelerator Department
2-2-2010

## Slide 2: New Stair Report From PPPL
On November 17, 2009 a subcontractor employee turned to come down set of stairs at PPPL and as he reached the second step from the bottom, the step broke free causing the subcontractor to step through the stairway and fall forward, breaking his arm and a rib

## Slide 3: Seal or Paint Wood

## Slide 4: Install Handrail That is Easily Graspable (Too wide)

## Slide 5: Handrails OK (2x4)

## Slide 6: This Is OK – Concrete Pad

## Slide 7: Need Graspable Railings and Concrete Pad If Outdoors

## Slide 8: Missing Railings, Treads are Undersized

## Slide 9: Upgrade Handrails When Any Rebuilding Occurs (4x4)

## Slide 10: Remove Platform

## Slide 11: Replace Handrail

## Slide 12: Remove From Service – Legs Rounded

## Slide 13: OK to Use – Two Step Portable Stool

## Slide 14: Railing Required – Gap Between Platform and Wall too Wide

## Slide 15: OK – Two Steps on Concrete

## Slide 16: Railings Needed If Stairs are Over 30 Inches High

## Slide 17: Replace- Need Equal Riser Height