## Slide 1: PHENIX Status
John Haggerty
Brookhaven National Laboratory

## Slide 2: Recorded Luminosity

## Slide 3: Background
Pretty good this week, but higher than the initial phenomenal backgrounds
Looked for correlations with VTX leakage current; looks ok to start with counters outside triplets above 200 kHz

## Slide 4: Vertex distribution
Nice improvement in the vertex distribution seen by our BB counters

## Slide 5: VTX Status
Physics running since May 6 with VTX always in (cautious startup)
Negligible effect on livetime
Problems along the way have been addressed with maintenance and workarounds
  Strip “dropout” related to 4 event buffering, dropped back to 3
  Pixel grounding loss repaired during maintenance days

## Slide 6: VTX Strip
Stripixel layers showing good MIP peak
Peak in ADC from stripixel SVX4 ADC ~90 for clusters

## Slide 7: VTX Pixel
Pixel layers have been behaving well except for a weak ground connection that we have been repairing as we go along
Estimated ~80% live pixels right now
DST production ongoing during the run

## Slide 8: Summary
A good week of running
Just about at the halfway point
The VTX is working well
There’s a lot more to do with the VTX, but the data we are taking is looking very good